Infection Control Check-Up | John A. Molinari, Ph.D.

| Pro-Active Office Infection Control Procedures Dental Infection Control Program Administration □ Y □ N Are “standard precautions” followed for all patients? □ Y □ N Is there a written infection control program? □ Y □ N Is there a written exposure control plan? □ Y □ N Does the office have an IC and OSHA coordinator assigned? □ Y □ N Have all DHCP* personnel received training regarding the OSHA Bloodborne Pathogens Standard and protection against infectious agents? Preventing Transmission of Bloodborne Pathogens □ Y □ N Are Standard Precautions followed for all patients? □ Y □ N Is the HBV vaccination offered and records kept? □ Y □ N Are sharps containers and needle recapping devices available? □ Y □ N Is there a needle stick protocol and Post Exposure program? □ Y □ N Are exposure records kept confidential? Contact Dermatitis and Latex Sensitivity □ Y □ N Does the initial patient history include inquiries of possible allergies to latex? □ Y □ N Are there latex-safe items available for patients and DHCP? □ Y □ N Are patients and DHCP made aware of latex sensitivity and consequences? Program Evaluation □ Y □ N Have all DHCP been trained on Occupational Health and Safety Act (OSHA) requirements? □ Y □ N Does the office/clinic routinely review and evaluate the office infection control program? | Pre - Patient Treatment Hand Hygiene □ Y □ N Are skin sensitivities & allergies considered when selecting products? □ Y □ N Are available products manufactured for DHCP? □ Y □ N Do DHCP cleanse their hands before treating patients? □ Y □ N Do DHCP use an alcohol hand rub? □ Y □ N Are hand hygiene procedures performed for the appropriate times? □ Y □ N Are hand lotions available to prevent irritation dermatitis? Processing and Sterilization of Patient – Care Items □ Y □ N Is there equipment for sterilization; what type(s):___________________? □ Y □ N Are the manufacturer’s guidelines followed for sterilizer maintenance? □ Y □ N Is there a central instrument processing area available for the office? □ Y □ N Does anyone working in this area receive training on how to use the equipment? □ Y □ N Is visible blood and other debris removed before sterilization? □ Y □ N Are appropriate gloves used to clean instruments? □ Y □ N Is the ultrasonic unit tested periodically? □ Y □ N Are instruments wrapped before sterilization? □ Y □ N Is the sterilizer loaded such that sterilant reaches all package surfaces? □ Y □ N Is sterilization equipment properly monitored and records maintained? □ Y □ N If a spore test comes back positive are all records of mechanical and chemical indicators reviewed, as well as sterilization procedures, to determine if there was operator error? □ Y □ N Are implantable devices sterilized before use? □ Y □ N Are all sterilized wrapped instrument packages inspected to ensure they have not been compromised? □ Y □ N Are single-use disposable items used for one patient only? *DHCP = Dental Health Care Professionals |
| --- | --- |

THE DENTAL ADVISOR • 800.347.1330/734.665.2020 • info@dentaladvisor.com • www.dentaladvisor.com

Infection Control Check-Up | John A. Molinari, Ph.D.

| Patient Treatment Personal Protective Equipment □ Y □ N Do DHCP wear appropriate eye protection? □ Y □ N Do DHCP change masks between patients? □ Y □ N Do DHCP wear protective clothing and change when necessary? □ Y □ N Is protective clothing removed before leaving office, or laundered on site? □ Y □ N Are gloves, appropriate to treatment, available in sizes required? □ Y □ N Are gloves removed and changed between patients? Parenteral Medications □ Y □ N Are single-dose medications and devices used for one patient only and disposed of appropriately? Oral Surgical Procedures □ Y □ N Do DHCP wear sterile surgeon’s gloves and use sterile irrigation during procedures? □ Y □ N Is sterile water or saline used for invasive procedures? Biopsy Specimens □ Y □ N Are biopsy specimens placed in a sturdy leak proof container with proper labels? Medical Waste and Extracted Teeth □ Y □ N Is an appropriate waste management plan in place for handling and disposal of contaminated and medical waste? □ Y □ N Are extracted teeth disposed of as regulated medical waste or sterilized and returned to the patient? | Post – Patient Treatment Environmental Surface Asepsis □ Y □ N Are surface barriers used to protect clinic contact surfaces, especially those that are difficult to clean? □ Y □ N Are surface barriers changed between patients? □ Y □ N Do DHCP use PPE when cleaning and disinfecting environmental surfaces? □ Y □ N Is the appropriate contact time used for surface sprays and wipes? □ Y □ N Are housekeeping surfaces cleaned on a regular basis? Dental Unit Waterlines □ Y □ N Are regular waterline maintenance procedures followed to reduce the concentration of microoganisms to meet CDC and ADA water recommendations? □ Y □ N Have the manufacturers’ recommended guidelines been followed? □ Y □ N Is the water and air flushed for 20-30 seconds after each patient? Dental Handpieces □ Y □ N Are handpieces cleaned, sterilized, and lubricated between patients? Dental Laboratory □ Y □ N Are DHCP using PPE when handling items received in the laboratory? □ Y □ N Are impressions disinfected before going to the lab? |
| --- | --- |

THE DENTAL ADVISOR • 800.347.1330/734.665.2020 • info@dentaladvisor.com • www.dentaladvisor.com